## PegeldifferenzenFPY
Egger
Pegeldifferenz Senderaum - Empfangsraum in dB
Freqz in Hz | FPY2 | FPY2-2
48.001 | 24.1 | 21.1
49.403 | 24.5 | 19.8
50.845 | 23 | 24
52.33 | 26.6 | 23.1
53.858 | 30.9 | 21
55.431 | 25.8 | 20.4
57.049 | 23.4 | 16.3
58.715 | 24 | 12.5
60.43 | 25 | 12.5
62.194 | 25.7 | 11.9
64.01 | 27 | 8.1
65.879 | 28.6 | 5.5
67.803 | 29.4 | 11.6
69.783 | 30.1 | 18.6
71.821 | 29.2 | 21.2
73.918 | 25.7 | 20
76.076 | 20.1 | 19.5
78.298 | 18.2 | 20.2
80.584 | 20.5 | 27.7
82.937 | 27.7 | 24.7
85.359 | 37.1 | 31
87.852 | 40.9 | 24.8
90.417 | 35.2 | 30
93.057 | 33.2 | 30.8
95.775 | 28.7 | 30.8
98.571 | 29.2 | 31.1
101.45 | 29.4 | 33.3
104.412 | 25.3 | 33.1
107.461 | 25.4 | 32.7
110.599 | 21.5 | 31.7
113.828 | 25.3 | 31.1
117.152 | 30.3 | 31.5
120.573 | 29.6 | 33.6
124.094 | 24.3 | 43.8
127.717 | 26.1 | 44.2
131.447 | 30.2 | 33.2
135.285 | 30.4 | 35.5
139.236 | 26.2 | 38.3
143.301 | 31.2 | 44.8
147.486 | 27.7 | 38.6
151.792 | 27.7 | 45.8
156.225 | 30.7 | 46.4
160.787 | 31.3 | 43.9
165.482 | 24.3 | 41.2
170.314 | 26.1 | 43.8
175.287 | 21.8 | 46.5
180.406 | 26.5 | 42.5
185.674 | 24.5 | 44.2
191.095 | 27.5 | 48.5
196.675 | 26.8 | 50.4
202.418 | 32.4 | 48.6
208.329 | 30.6 | 49.9
214.412 | 29.6 | 51.4
220.673 | 29.7 | 49.1
227.117 | 29.4 | 47.3
233.749 | 33.2 | 46.1
240.575 | 33.5 | 49
247.6 | 31.1 | 53.8
254.83 | 30.5 | 49.8
262.271 | 32.1 | 48.7
269.929 | 32.5 | 46.8
277.811 | 28.3 | 51.8
285.924 | 30.5 | 52.2
294.273 | 29.6 | 53.1
302.866 | 32 | 52.1
311.709 | 31.1 | 54.3
320.812 | 29 | 52.1
330.179 | 32.2 | 53.5
339.821 | 31.2 | 55.4
349.744 | 28.5 | 55.3
359.956 | 28.5 | 56.1
370.467 | 29.4 | 56.6
381.285 | 31.3 | 60.5
392.419 | 30.5 | 57.9
403.878 | 32 | 59.9
415.671 | 31.2 | 59.6
427.809 | 31.6 | 62.1
440.301 | 31.6 | 61.7
453.158 | 30.6 | 62.5
466.391 | 32.2 | 63.1
480.01 | 33 | 64.6
494.026 | 31.8 | 62.7
508.452 | 31.6 | 63.5
523.299 | 30.6 | 63.8
538.58 | 30.9 | 61.5
554.307 | 31.6 | 63.3
570.493 | 32.9 | 63.1
587.151 | 32.7 | 65.2
604.296 | 32.1 | 66.9
621.942 | 33 | 67.1
640.103 | 32.8 | 65.8
658.795 | 32.9 | 65.4
678.032 | 33.7 | 64.6
697.831 | 33.6 | 66.2
718.208 | 32.8 | 66
739.18 | 34.9 | 68.1
760.764 | 34.9 | 67.6
782.979 | 35.4 | 67.3
805.842 | 34.8 | 67.2
829.373 | 36.1 | 67.6
853.591 | 35.8 | 68.4
878.517 | 35.2 | 68.8
904.17 | 36.1 | 69
930.572 | 36 | 68.1
957.745 | 35.4 | 69.7
985.712 | 36 | 69.2
1014.495 | 36.6 | 70.1
1044.119 | 36.5 | 69.5
1074.608 | 37.9 | 69.5
1105.987 | 37.3 | 69.8
1138.282 | 36.8 | 71.1
1171.521 | 37.2 | 71
1205.73 | 37.5 | 71.3
1240.938 | 38 | 71.1
1277.174 | 37.8 | 72
1314.468 | 36.5 | 72
1352.851 | 37.5 | 71.6
1392.355 | 37.8 | 71.3
1433.013 | 36.7 | 71.5
1474.857 | 37.1 | 72.5
1517.924 | 38.1 | 70.8
1562.248 | 37 | 71.2
1607.867 | 36.3 | 71.9
1654.817 | 37.4 | 72.1
1703.139 | 36.3 | 71.8
1752.871 | 35.9 | 70.4
1804.056 | 35.4 | 69.6
1856.735 | 36.3 | 70.5
1910.953 | 35.7 | 69.7
1966.754 | 33.7 | 69.3
2024.184 | 33.7 | 67.2
2083.291 | 32.2 | 66.1
2144.125 | 30.7 | 64.7
2206.734 | 30.1 | 64.3
2271.172 | 29 | 64.3
2337.491 | 27.6 | 61.6
2405.747 | 28.8 | 62.7
2475.996 | 28.9 | 62.2
2548.297 | 29.4 | 63.1
2622.708 | 29.9 | 63.4
2699.293 | 30.5 | 64.6
2778.114 | 31.4 | 65.2
2859.236 | 32 | 65
2942.727 | 32.6 | 65.9
3028.656 | 33.1 | 67.4
3117.095 | 35 | 67.1
3208.115 | 33.5 | 67.4
3301.794 | 34.6 | 69.1
3398.208 | 35.2 | 70.4
3497.438 | 35.1 | 69.1
3599.565 | 36.1 | 71.3
3704.674 | 36.1 | 70.6
3812.853 | 35.6 | 71.5
3924.19 | 37.2 | 71.6
4038.778 | 36.5 | 72
4156.712 | 37.7 | 73.1
4278.091 | 37.9 | 74.5
4403.013 | 37.8 | 74.8
4531.583 | 37.4 | 75.1
4663.908 | 38.7 | 76
4800.097 | 38.7 | 77.4
4940.262 | 39 | 76.9
5084.521 | 39.6 | 77.2
L-netw | 30.3 | 39.5
A-netw | 32.6 | 56.1

## FPY2
Ch1: FPY2.SDF | "Ch2: FPY2.SDF"
Period = 0 | "Period = 0"
Frq[Hz] | "Min" | "Max" | "SPL" | "SEL" | "Leq" | Ovl/Peak | " Frq[Hz]" | "Min" | "Max" | "SPL" | "SEL" | "Leq" | Ovl/Peak
48.001 | 51.3 | 86 | 68.6 | 94.8 | 77 | "-" | " 48.001" | 36.2 | 61.8 | 43.4 | 70.7 | 52.9 | "-"
49.403 | 59.6 | 83.8 | 76 | 93.2 | 75.4 | "-" | " 49.403" | 35.5 | 58.3 | 50.7 | 68.7 | 50.9 | "-"
50.845 | 51.1 | 79.7 | 75.2 | 89.2 | 71.4 | "-" | " 50.845" | 34.7 | 56 | 46.6 | 66.2 | 48.4 | "-"
52.33 | 48.5 | 84.8 | 72.8 | 91.8 | 74.1 | "-" | " 52.33" | 28.9 | 53.7 | 42 | 65.3 | 47.5 | "-"
53.858 | 47.1 | 88 | 82.6 | 94.2 | 76.5 | "-" | " 53.858" | 31.2 | 53.8 | 50.1 | 63.4 | 45.6 | "-"
55.431 | 50.3 | 82 | 79.2 | 90.5 | 72.7 | "-" | " 55.431" | 29.8 | 55.1 | 49.6 | 64.7 | 46.9 | "-"
57.049 | 53.2 | 80.7 | 73.3 | 89 | 71.3 | "-" | " 57.049" | 33.1 | 57.4 | 44.6 | 65.7 | 47.9 | "-"
58.715 | 57.9 | 81.9 | 75.9 | 89.3 | 71.5 | "-" | " 58.715" | 31.8 | 57.1 | 54.1 | 65.3 | 47.5 | "-"
60.43 | 47 | 82.3 | 71.5 | 88.7 | 71 | "-" | " 60.43" | 27.9 | 55.9 | 48.4 | 63.8 | 46 | "-"
62.194 | 56.7 | 87.6 | 72.1 | 94.4 | 76.7 | "-" | " 62.194" | 32.1 | 58.7 | 49.4 | 68.8 | 51 | "-"
64.01 | 63.1 | 92.8 | 76.3 | 101.7 | 83.9 | "-" | " 64.01" | 34.7 | 66.7 | 51.9 | 74.7 | 56.9 | "-"
65.879 | 66.1 | 99.2 | 84.2 | 106.6 | 88.8 | "-" | " 65.879" | 33 | 72.3 | 53.8 | 78 | 60.2 | "-"
67.803 | 66.5 | 91.1 | 74.3 | 101.1 | 83.3 | "-" | " 67.803" | 24.8 | 66.9 | 33.9 | 71.7 | 53.9 | "-"
69.783 | 60 | 90.2 | 72.6 | 97.7 | 79.9 | "-" | " 69.783" | 21.9 | 59.5 | 36.9 | 67.6 | 49.8 | "-"
71.821 | 59.6 | 89.3 | 78.2 | 96.4 | 78.6 | "-" | " 71.821" | 23.5 | 60.3 | 41.6 | 67.1 | 49.4 | "-"
73.918 | 57.8 | 90.1 | 81.7 | 96.6 | 78.8 | "-" | " 73.918" | 26.5 | 63.2 | 42.1 | 70.9 | 53.1 | "-"
76.076 | 51.6 | 91.2 | 80.3 | 98.1 | 80.3 | "-" | " 76.076" | 37.4 | 69 | 45.5 | 77.9 | 60.2 | "-"
78.298 | 54.6 | 95.8 | 81.9 | 103 | 85.2 | "-" | " 78.298" | 40.1 | 75.4 | 50.3 | 84.8 | 67 | "-"
80.584 | 55.4 | 91.9 | 74.1 | 98.1 | 80.3 | "-" | " 80.584" | 35.1 | 66.9 | 36.9 | 77.5 | 59.8 | "-"
82.937 | 53.2 | 84.6 | 68.2 | 91.3 | 73.6 | "-" | " 82.937" | 24.3 | 54.8 | 34.9 | 63.7 | 45.9 | "-"
85.359 | 50.7 | 80.8 | 61.9 | 89.4 | 71.6 | "-" | " 85.359" | 14.5 | 43.5 | 29.8 | 52.3 | 34.5 | "-"
87.852 | 55.6 | 87.4 | 71 | 97.3 | 79.6 | "-" | " 87.852" | 22.6 | 47.7 | 33.5 | 56.5 | 38.7 | "-"
90.417 | 55.3 | 89.7 | 70.4 | 96.5 | 78.8 | "-" | " 90.417" | 28.5 | 52.6 | 35.9 | 61.4 | 43.6 | "-"
93.057 | 64.3 | 90 | 78.6 | 99.7 | 82 | "-" | " 93.057" | 34.7 | 60.2 | 39.5 | 66.6 | 48.8 | "-"
95.775 | 66.3 | 99.1 | 83.4 | 107.3 | 89.5 | "-" | " 95.775" | 33.7 | 72.2 | 48 | 78.6 | 60.8 | "-"
98.571 | 71.1 | 100.9 | 92.5 | 109.1 | 91.3 | "-" | " 98.571" | 45 | 71.6 | 55.1 | 79.9 | 62.1 | "-"
101.45 | 75.6 | 100.2 | 90.5 | 109.1 | 91.3 | "-" | " 101.45" | 47.4 | 70.7 | 57.6 | 79.6 | 61.9 | "-"
104.412 | 69 | 99.3 | 87.5 | 106.5 | 88.7 | "-" | " 104.412" | 43.3 | 72.7 | 67.2 | 81.2 | 63.4 | "-"
107.461 | 68.4 | 97.9 | 87.6 | 105.9 | 88.1 | "-" | " 107.461" | 35.3 | 73.7 | 65.3 | 80.4 | 62.7 | "-"
110.599 | 64.6 | 94.8 | 89.1 | 102.2 | 84.4 | "-" | " 110.599" | 38.1 | 71.8 | 65.1 | 80.7 | 62.9 | "-"
113.828 | 72.9 | 97 | 86.1 | 104.3 | 86.5 | "-" | " 113.828" | 36.6 | 68.1 | 62.7 | 78.9 | 61.2 | "-"
117.152 | 73.7 | 98.7 | 85.2 | 107.7 | 89.9 | "-" | " 117.152" | 33.9 | 68.1 | 59.2 | 77.4 | 59.6 | "-"
120.573 | 71.5 | 100.2 | 85.3 | 108.3 | 90.5 | "-" | " 120.573" | 38.7 | 70.3 | 56.4 | 78.7 | 60.9 | "-"
124.094 | 67.7 | 98.1 | 85.7 | 104.4 | 86.6 | "-" | " 124.094" | 27.6 | 72.3 | 51.8 | 80.1 | 62.3 | "-"
127.717 | 68.1 | 98.1 | 86 | 104.7 | 86.9 | "-" | " 127.717" | 42.5 | 70.5 | 60.3 | 78.5 | 60.8 | "-"
131.447 | 58.8 | 95.7 | 80.1 | 104.1 | 86.4 | "-" | " 131.447" | 37.3 | 67.7 | 50.8 | 74 | 56.2 | "-"
135.285 | 71.8 | 95.6 | 79.1 | 103.4 | 85.7 | "-" | " 135.285" | 37.1 | 65.3 | 56.9 | 73.1 | 55.3 | "-"
139.236 | 69.7 | 100.7 | 88.9 | 108.8 | 91 | "-" | " 139.236" | 39.2 | 77.5 | 62.3 | 82.6 | 64.8 | "-"
143.301 | 75.7 | 103.5 | 89.7 | 110.5 | 92.7 | "-" | " 143.301" | 44.5 | 70.4 | 61.2 | 79.3 | 61.5 | "-"
147.486 | 78 | 102.8 | 97.6 | 112.9 | 95.2 | "-" | " 147.486" | 49.5 | 78.3 | 68.6 | 85.3 | 67.5 | "-"
151.792 | 77.1 | 101.1 | 92.8 | 109.9 | 92.2 | "-" | " 151.792" | 49.3 | 73.1 | 63.2 | 82.3 | 64.5 | "-"
156.225 | 72.6 | 99.8 | 84 | 107.6 | 89.8 | "-" | " 156.225" | 42.6 | 69.8 | 60.6 | 76.9 | 59.1 | "-"
160.787 | 76.5 | 99.2 | 83.2 | 108.2 | 90.5 | "-" | " 160.787" | 47.3 | 68.5 | 54 | 77 | 59.2 | "-"
165.482 | 79.5 | 101.6 | 91.5 | 111.6 | 93.8 | "-" | " 165.482" | 51.8 | 78.5 | 55.5 | 87.2 | 69.5 | "-"
170.314 | 81.7 | 101.5 | 89.1 | 111.2 | 93.4 | "-" | " 170.314" | 51.4 | 77 | 56.3 | 85.1 | 67.3 | "-"
175.287 | 78.2 | 100.9 | 88.6 | 109.5 | 91.7 | "-" | " 175.287" | 50.5 | 78.6 | 67.6 | 87.7 | 69.9 | "-"
180.406 | 79.6 | 105.6 | 89.8 | 113.7 | 95.9 | "-" | " 180.406" | 55.5 | 78.9 | 68.4 | 87.2 | 69.4 | "-"
185.674 | 80 | 104 | 90.9 | 111.7 | 93.9 | "-" | " 185.674" | 56.7 | 78.6 | 66 | 87.2 | 69.4 | "-"
191.095 | 79.6 | 103.6 | 92.7 | 111 | 93.2 | "-" | " 191.095" | 52 | 74.2 | 67.6 | 83.5 | 65.7 | "-"
196.675 | 82.4 | 104.5 | 95.7 | 114.3 | 96.5 | "-" | " 196.675" | 52.1 | 79.5 | 68.7 | 87.5 | 69.7 | "-"
202.418 | 81 | 107.7 | 95.6 | 116.2 | 98.5 | "-" | " 202.418" | 53 | 73.7 | 59.7 | 83.9 | 66.1 | "-"
208.329 | 83.6 | 105.9 | 92.3 | 113.9 | 96.1 | "-" | " 208.329" | 51.2 | 75 | 64.6 | 83.3 | 65.5 | "-"
214.412 | 80.1 | 103.9 | 85.4 | 111.8 | 94.1 | "-" | " 214.412" | 50.3 | 72.7 | 61.4 | 82.3 | 64.5 | "-"
220.673 | 79.9 | 104.6 | 83.5 | 111.4 | 93.6 | "-" | " 220.673" | 51.9 | 71.2 | 57.1 | 81.6 | 63.9 | "-"
227.117 | 83.8 | 102.7 | 89 | 112.8 | 95 | "-" | " 227.117" | 51.4 | 74.9 | 66 | 83.4 | 65.6 | "-"
233.749 | 85.1 | 106.5 | 89 | 115.1 | 97.3 | "-" | " 233.749" | 51.2 | 74.8 | 58.9 | 81.9 | 64.1 | "-"
240.575 | 77.6 | 104.4 | 95.7 | 114.8 | 97.1 | "-" | " 240.575" | 53.8 | 71 | 60.2 | 81.4 | 63.6 | "-"
247.6 | 85.4 | 105.5 | 94.6 | 113.4 | 95.6 | "-" | " 247.6" | 52.9 | 73.9 | 68.8 | 82.3 | 64.5 | "-"
254.83 | 83 | 106.5 | 94.7 | 114.5 | 96.8 | "-" | " 254.83" | 54.7 | 76.9 | 66.8 | 84 | 66.3 | "-"
262.271 | 82.2 | 107.5 | 94.2 | 115.2 | 97.4 | "-" | " 262.271" | 50.9 | 75.3 | 66.8 | 83.1 | 65.3 | "-"
269.929 | 84.4 | 105.5 | 96.2 | 115.7 | 97.9 | "-" | " 269.929" | 54.3 | 72.9 | 60 | 83.1 | 65.4 | "-"
277.811 | 83.9 | 101.8 | 93.2 | 112.6 | 94.9 | "-" | " 277.811" | 52.6 | 74.1 | 57.4 | 84.3 | 66.6 | "-"
285.924 | 81.1 | 103.1 | 86 | 112.7 | 94.9 | "-" | " 285.924" | 52.4 | 70.7 | 65.2 | 82.1 | 64.4 | "-"
294.273 | 84.1 | 105.5 | 93.8 | 115 | 97.3 | "-" | " 294.273" | 52.4 | 76.1 | 65.4 | 85.5 | 67.7 | "-"
302.866 | 85.6 | 103.5 | 97.6 | 114.6 | 96.9 | "-" | " 302.866" | 54.6 | 72.3 | 63.1 | 82.7 | 64.9 | "-"
311.709 | 85.7 | 105.8 | 100.8 | 114.6 | 96.8 | "-" | " 311.709" | 55.2 | 73.5 | 66.4 | 83.5 | 65.7 | "-"
320.812 | 82.5 | 105 | 92.1 | 113.5 | 95.7 | "-" | " 320.812" | 55.5 | 73.9 | 66 | 84.5 | 66.7 | "-"
330.179 | 81.1 | 105.4 | 96.1 | 114.1 | 96.3 | "-" | " 330.179" | 54.3 | 71.2 | 66.3 | 81.9 | 64.1 | "-"
339.821 | 85.7 | 105.5 | 91.7 | 115.8 | 98 | "-" | " 339.821" | 56 | 75.2 | 66.4 | 84.6 | 66.8 | "-"
349.744 | 85.2 | 105.6 | 90.8 | 113.2 | 95.4 | "-" | " 349.744" | 58 | 74.8 | 69.4 | 84.7 | 66.9 | "-"
359.956 | 84.9 | 105.9 | 96.6 | 114 | 96.3 | "-" | " 359.956" | 59 | 74.3 | 70.1 | 85.5 | 67.8 | "-"
370.467 | 83.9 | 102.3 | 89.7 | 112.2 | 94.4 | "-" | " 370.467" | 54 | 73 | 64.2 | 82.7 | 65 | "-"
381.285 | 83.4 | 104.7 | 100 | 114.3 | 96.5 | "-" | " 381.285" | 51.6 | 72.5 | 61.7 | 83 | 65.2 | "-"
392.419 | 84.8 | 99.7 | 96.1 | 111.3 | 93.5 | "-" | " 392.419" | 53.3 | 70.7 | 58.6 | 80.8 | 63 | "-"
403.878 | 85.2 | 103.8 | 96.2 | 112.7 | 94.9 | "-" | " 403.878" | 53.2 | 69.6 | 60.2 | 80.6 | 62.9 | "-"
415.671 | 84 | 103.8 | 94 | 113.2 | 95.4 | "-" | " 415.671" | 54.2 | 74.2 | 61.4 | 82 | 64.2 | "-"
427.809 | 84.3 | 102.7 | 102.7 | 112.8 | 95 | "-" | " 427.809" | 52.2 | 71.6 | 68.4 | 81.1 | 63.4 | "-"
440.301 | 85.6 | 104.3 | 89.6 | 111.9 | 94.1 | "-" | " 440.301" | 53.8 | 69 | 59 | 80.3 | 62.5 | "-"
453.158 | 85.2 | 102.3 | 91.9 | 112.3 | 94.5 | "-" | " 453.158" | 54 | 72 | 55.2 | 81.7 | 63.9 | "-"
466.391 | 84.5 | 103.5 | 88.9 | 112.6 | 94.8 | "-" | " 466.391" | 52.8 | 69.8 | 63.2 | 80.4 | 62.6 | "-"
480.01 | 83.5 | 102.3 | 89.9 | 112.2 | 94.4 | "-" | " 480.01" | 53 | 67.6 | 60.8 | 79.2 | 61.4 | "-"
494.026 | 87.6 | 101.8 | 94.5 | 112.7 | 94.9 | "-" | " 494.026" | 52.3 | 70.6 | 65 | 80.9 | 63.1 | "-"
508.452 | 85.3 | 103.2 | 94.8 | 112 | 94.2 | "-" | " 508.452" | 53.2 | 70.7 | 63.3 | 80.4 | 62.6 | "-"
523.299 | 84.2 | 100.2 | 93.6 | 110.5 | 92.7 | "-" | " 523.299" | 49.1 | 69.2 | 63.9 | 79.9 | 62.1 | "-"
538.58 | 84.5 | 101 | 99.3 | 111.8 | 94 | "-" | " 538.58" | 49.8 | 70.1 | 69 | 80.9 | 63.1 | "-"
554.307 | 82.4 | 104.7 | 94.5 | 113.7 | 95.9 | "-" | " 554.307" | 54.4 | 71 | 68.8 | 82.1 | 64.3 | "-"
570.493 | 85.9 | 101.5 | 91 | 111.5 | 93.7 | "-" | " 570.493" | 53.5 | 67.5 | 59.5 | 78.6 | 60.8 | "-"
587.151 | 85.6 | 99.5 | 92.7 | 111 | 93.2 | "-" | " 587.151" | 53.1 | 67.7 | 61.2 | 78.3 | 60.5 | "-"
604.296 | 84.4 | 101 | 92.8 | 110.6 | 92.8 | "-" | " 604.296" | 52.8 | 66.5 | 60.3 | 78.5 | 60.7 | "-"
621.942 | 84.5 | 99.8 | 93.6 | 110.6 | 92.8 | "-" | " 621.942" | 52.4 | 66.1 | 60.4 | 77.6 | 59.8 | "-"
640.103 | 82.1 | 100.4 | 93.5 | 110.5 | 92.7 | "-" | " 640.103" | 51.3 | 67.5 | 63.3 | 77.7 | 59.9 | "-"
658.795 | 83 | 99.8 | 91.6 | 110.8 | 93 | "-" | " 658.795" | 51.6 | 65.6 | 59.8 | 77.9 | 60.1 | "-"
678.032 | 84.6 | 99.4 | 88.1 | 110.4 | 92.6 | "-" | " 678.032" | 51.7 | 65.7 | 58 | 76.7 | 58.9 | "-"
697.831 | 82.5 | 99.2 | 91.5 | 110.1 | 92.3 | "-" | " 697.831" | 51.5 | 64.7 | 55.4 | 76.5 | 58.7 | "-"
718.208 | 84.6 | 99.6 | 91.6 | 109.8 | 92 | "-" | " 718.208" | 51.9 | 64.8 | 61.1 | 76.9 | 59.2 | "-"
739.18 | 84.4 | 97.9 | 89.8 | 109.2 | 91.4 | "-" | " 739.18" | 49.7 | 62.6 | 58.4 | 74.3 | 56.5 | "-"
760.764 | 79.9 | 99.9 | 85.9 | 109.3 | 91.5 | "-" | " 760.764" | 50.6 | 62.3 | 55.8 | 74.4 | 56.6 | "-"
782.979 | 84.1 | 98 | 91 | 109.5 | 91.7 | "-" | " 782.979" | 49.2 | 61.8 | 54.7 | 74 | 56.3 | "-"
805.842 | 83.3 | 97.7 | 91 | 108.4 | 90.6 | "-" | " 805.842" | 47.9 | 63.6 | 50.6 | 73.6 | 55.8 | "-"
829.373 | 82.8 | 97.5 | 93.1 | 108.9 | 91.2 | "-" | " 829.373" | 48.5 | 61 | 52.2 | 72.9 | 55.1 | "-"
853.591 | 82.9 | 98.4 | 92.7 | 109.2 | 91.5 | "-" | " 853.591" | 49.4 | 61.3 | 56.1 | 73.4 | 55.7 | "-"
878.517 | 84.4 | 98.9 | 93.2 | 109 | 91.2 | "-" | " 878.517" | 48.8 | 63.4 | 53.2 | 73.8 | 56 | "-"
904.17 | 82.1 | 97.1 | 90.8 | 108.6 | 90.8 | "-" | " 904.17" | 47.2 | 60.9 | 54.2 | 72.5 | 54.7 | "-"
930.572 | 84.6 | 99.5 | 87.3 | 108.6 | 90.8 | "-" | " 930.572" | 48.3 | 62 | 51.9 | 72.6 | 54.8 | "-"
957.745 | 84.1 | 96.4 | 92.3 | 108.4 | 90.6 | "-" | " 957.745" | 48.4 | 60.9 | 54.5 | 73 | 55.2 | "-"
985.712 | 76.2 | 96.6 | 91.5 | 107.8 | 90.1 | "-" | " 985.712" | 48.6 | 60.3 | 56 | 71.9 | 54.1 | "-"
1014.495 | 78.6 | 96.7 | 85.8 | 108.3 | 90.5 | "-" | "1014.495" | 46.9 | 59.9 | 49.9 | 71.7 | 53.9 | "-"
1044.119 | 83.5 | 97.3 | 88.5 | 108.1 | 90.3 | "-" | "1044.119" | 47.9 | 59.1 | 51.8 | 71.5 | 53.8 | "-"
1074.608 | 77.8 | 96.9 | 85.7 | 107.7 | 89.9 | "-" | "1074.608" | 44.9 | 57.9 | 49.8 | 69.7 | 52 | "-"
1105.987 | 82.1 | 95.4 | 87 | 106.9 | 89.1 | "-" | "1105.987" | 36.4 | 56.9 | 48.4 | 69.6 | 51.8 | "-"
1138.282 | 81.9 | 95 | 91.9 | 107.3 | 89.6 | "-" | "1138.282" | 45.4 | 58.9 | 55.1 | 70.6 | 52.8 | "-"
1171.521 | 85 | 99 | 91.1 | 110.4 | 92.6 | "-" | "1171.521" | 47.1 | 60.9 | 55.4 | 73.2 | 55.4 | "-"
1205.73 | 85.5 | 98 | 90.8 | 109.8 | 92 | "-" | " 1205.73" | 48.6 | 61.1 | 55.5 | 72.2 | 54.5 | "-"
1240.938 | 86 | 98 | 91.2 | 109.8 | 92 | "-" | "1240.938" | 48.3 | 59.3 | 53.2 | 71.7 | 54 | "-"
1277.174 | 83.2 | 96.7 | 94.7 | 109.5 | 91.8 | "-" | "1277.174" | 48.5 | 58.4 | 52.1 | 71.8 | 54 | "-"
1314.468 | 83.5 | 96.7 | 92.4 | 108.9 | 91.1 | "-" | "1314.468" | 49.1 | 60.6 | 56.7 | 72.4 | 54.6 | "-"
1352.851 | 84.7 | 97.3 | 91.1 | 109.3 | 91.5 | "-" | "1352.851" | 48.2 | 59.7 | 55.1 | 71.8 | 54 | "-"
1392.355 | 86.4 | 97.5 | 88.5 | 109.2 | 91.4 | "-" | "1392.355" | 47.2 | 58 | 53.1 | 71.4 | 53.6 | "-"
1433.013 | 83.5 | 96.3 | 87.2 | 109 | 91.3 | "-" | "1433.013" | 49.6 | 60.5 | 55.3 | 72.3 | 54.6 | "-"
1474.857 | 83.8 | 95.7 | 89.4 | 108.8 | 91 | "-" | "1474.857" | 47.2 | 59.2 | 52.9 | 71.7 | 53.9 | "-"
1517.924 | 85.6 | 97.1 | 90.4 | 109.4 | 91.6 | "-" | "1517.924" | 47.6 | 58.3 | 50.8 | 71.3 | 53.5 | "-"
1562.248 | 86.6 | 96.4 | 90.2 | 109.1 | 91.3 | "-" | "1562.248" | 49.5 | 59 | 53.1 | 72 | 54.3 | "-"
1607.867 | 85.3 | 96.5 | 91.8 | 108.4 | 90.6 | "-" | "1607.867" | 49.2 | 59.7 | 55.6 | 72 | 54.3 | "-"
1654.817 | 84.6 | 94.3 | 88 | 107.8 | 90 | "-" | "1654.817" | 47.4 | 59 | 51.9 | 70.4 | 52.6 | "-"
1703.139 | 84.6 | 96.9 | 86.2 | 106.9 | 89.1 | "-" | "1703.139" | 47.9 | 57.9 | 51.5 | 70.5 | 52.8 | "-"
1752.871 | 83 | 93.6 | 89.2 | 106.7 | 88.9 | "-" | "1752.871" | 48.1 | 57.1 | 49.9 | 70.8 | 53 | "-"
1804.056 | 82.7 | 92.9 | 88.2 | 106.3 | 88.5 | "-" | "1804.056" | 48.1 | 56.8 | 54.5 | 70.8 | 53.1 | "-"
1856.735 | 82.8 | 93.5 | 87.3 | 106.1 | 88.3 | "-" | "1856.735" | 46.9 | 57.2 | 51.2 | 69.8 | 52 | "-"
1910.953 | 81.8 | 91.8 | 86.1 | 105.4 | 87.6 | "-" | "1910.953" | 47.4 | 57 | 50.8 | 69.7 | 51.9 | "-"
1966.754 | 80.7 | 91.3 | 86.4 | 104.5 | 86.7 | "-" | "1966.754" | 48.2 | 58.9 | 52.7 | 70.8 | 53 | "-"
2024.184 | 85.5 | 97.6 | 91.1 | 108.4 | 90.6 | "-" | "2024.184" | 52.4 | 62.6 | 57.3 | 74.7 | 56.9 | "-"
2083.291 | 85.4 | 95.2 | 91.4 | 108.5 | 90.7 | "-" | "2083.291" | 53.6 | 63.8 | 56.6 | 76.2 | 58.5 | "-"
2144.125 | 84.6 | 94.1 | 90.3 | 107.4 | 89.6 | "-" | "2144.125" | 54.3 | 63.4 | 59.5 | 76.7 | 58.9 | "-"
2206.734 | 84.1 | 93.3 | 89.5 | 106.4 | 88.6 | "-" | "2206.734" | 53.1 | 62.7 | 58.5 | 76.3 | 58.5 | "-"
2271.172 | 84.6 | 94.7 | 87.7 | 106.8 | 89 | "-" | "2271.172" | 56.3 | 64.5 | 62.6 | 77.8 | 60 | "-"
2337.491 | 84.3 | 94.3 | 89.6 | 106.7 | 88.9 | "-" | "2337.491" | 56.6 | 65.8 | 61.9 | 79.1 | 61.3 | "-"
2405.747 | 84 | 93.1 | 90.2 | 106.6 | 88.8 | "-" | "2405.747" | 55.4 | 64.1 | 61.8 | 77.8 | 60 | "-"
2475.996 | 83.4 | 94.1 | 85.6 | 106.4 | 88.6 | "-" | "2475.996" | 55.3 | 65.1 | 59.2 | 77.5 | 59.7 | "-"
2548.297 | 83.7 | 94.1 | 85.5 | 106.1 | 88.4 | "-" | "2548.297" | 54.5 | 65.4 | 58.5 | 76.8 | 59 | "-"
2622.708 | 83.9 | 92.2 | 85.6 | 105.9 | 88.1 | "-" | "2622.708" | 53.2 | 61.7 | 58.3 | 76 | 58.2 | "-"
2699.293 | 78.6 | 94 | 81.2 | 106.1 | 88.3 | "-" | "2699.293" | 43.7 | 63.3 | 52.4 | 75.5 | 57.8 | "-"
2778.114 | 79.1 | 93 | 89 | 106.2 | 88.4 | "-" | "2778.114" | 46.3 | 62.5 | 55.1 | 74.8 | 57 | "-"
2859.236 | 78.2 | 94.9 | 85.2 | 106.4 | 88.6 | "-" | "2859.236" | 46 | 61.6 | 50.1 | 74.4 | 56.6 | "-"
2942.727 | 80.7 | 93.2 | 86.2 | 105.3 | 87.5 | "-" | "2942.727" | 44.8 | 59.9 | 59.9 | 72.7 | 54.9 | "-"
3028.656 | 76.9 | 93.3 | 89 | 105.2 | 87.4 | "-" | "3028.656" | 42.7 | 59.3 | 52.6 | 72.1 | 54.3 | "-"
3117.095 | 78.2 | 93.7 | 87.3 | 105.2 | 87.5 | "-" | "3117.095" | 42.5 | 57.5 | 52.8 | 70.3 | 52.5 | "-"
3208.115 | 77.4 | 91 | 87.4 | 104.1 | 86.3 | "-" | "3208.115" | 44.1 | 59 | 54.9 | 70.6 | 52.8 | "-"
3301.794 | 76.5 | 90.6 | 85.6 | 102.7 | 84.9 | "-" | "3301.794" | 42.8 | 56.5 | 50.9 | 68.1 | 50.3 | "-"
3398.208 | 75.8 | 90.7 | 83.8 | 102.5 | 84.8 | "-" | "3398.208" | 40.9 | 55 | 44.5 | 67.4 | 49.6 | "-"
3497.438 | 76.4 | 92.1 | 82.7 | 102.8 | 85 | "-" | "3497.438" | 36.6 | 55.2 | 51.7 | 67.7 | 49.9 | "-"
3599.565 | 74.6 | 90.1 | 79.7 | 102.1 | 84.3 | "-" | "3599.565" | 37.7 | 55.2 | 40.3 | 66 | 48.2 | "-"
3704.674 | 74.3 | 89.6 | 85.2 | 101.7 | 83.9 | "-" | "3704.674" | 38.9 | 53.1 | 48.8 | 65.6 | 47.8 | "-"
3812.853 | 70.9 | 89.2 | 82.3 | 101.6 | 83.8 | "-" | "3812.853" | 38.5 | 53.5 | 49.8 | 66 | 48.2 | "-"
3924.19 | 78.8 | 88.2 | 80.1 | 101.4 | 83.7 | "-" | " 3924.19" | 42.1 | 50.3 | 47.6 | 64.3 | 46.5 | "-"
4038.778 | 76.3 | 88.5 | 83.9 | 101.1 | 83.3 | "-" | "4038.778" | 38.8 | 51.6 | 46.8 | 64.6 | 46.8 | "-"
4156.712 | 77.4 | 89.1 | 85.7 | 101.7 | 83.9 | "-" | "4156.712" | 35.7 | 51.2 | 45.2 | 64 | 46.2 | "-"
4278.091 | 75.3 | 90.2 | 79.5 | 100.7 | 83 | "-" | "4278.091" | 38.9 | 50.6 | 40.7 | 62.9 | 45.1 | "-"
4403.013 | 76.5 | 89.8 | 79.2 | 101 | 83.2 | "-" | "4403.013" | 38.2 | 49.6 | 46 | 63.2 | 45.4 | "-"
4531.583 | 77.4 | 88.1 | 80.2 | 100.5 | 82.8 | "-" | "4531.583" | 39.6 | 50.4 | 48.4 | 63.2 | 45.4 | "-"
4663.908 | 78.2 | 87.9 | 82.4 | 101.9 | 84.1 | "-" | "4663.908" | 36.6 | 49.9 | 43.3 | 63.1 | 45.4 | "-"
4800.097 | 80 | 89.5 | 83.9 | 102.4 | 84.7 | "-" | "4800.097" | 37.8 | 51.1 | 44.7 | 63.8 | 46 | "-"
4940.262 | 75.2 | 90.1 | 86.4 | 103.5 | 85.8 | "-" | "4940.262" | 36.1 | 52.4 | 46.8 | 64.6 | 46.8 | "-"
5084.521 | 76.8 | 90.9 | 86.6 | 103.4 | 85.7 | "-" | "5084.521" | 40.6 | 51.3 | 45 | 63.9 | 46.1 | "-"
L-netw | 112.8 | 115.9 | 113.8 | 131.9 | 114.2 | 128.4 | " L-netw" | 79.7 | 86 | 83.7 | 101.7 | 83.9 | 97.7
A-netw | 109.5 | 111.8 | 110.8 | 128.5 | 110.7 | 125.6 | " A-netw" | 76.5 | 79.3 | 78.7 | 95.9 | 78.1 | 92.1
Setup information
Measurement mode: Lvl-Flt-Sgl
Master Instrument Mode: Normal
Filter bandwidth: 1/24-oct
Time constant: 1/8s F
Lower frequency: 48.00Hz
Upper frequency: 5084.52Hz
Measurement start: Thu 09 Nov 2006 11:14:03
Measurement duration: 00:01:00:000
Trigger condition: Manual
Channel 1:
Input: Microphone
Calibration: -26.4
Reference level (0dB): 2.00e-05
Fullscale: 120dB
High pass filter: 20Hz
Channel 2:
Input: Microphone
Calibration: -26.6
Reference level (0dB): 2.00e-05
Fullscale: 90dB
High pass filter: 20Hz

## FPY2_FPY2
Ch1: FPY2-2-V.SDF | "Ch2: FPY2-2-V.SDF"
Period = 0 | "Period = 0"
Frq[Hz] | "Min" | "Max" | "SPL" | "SEL" | "Leq" | Ovl/Peak | " Frq[Hz]" | "Min" | "Max" | "SPL" | "SEL" | "Leq" | Ovl/Peak
48001 | 35.1 | 67 | 47.4 | 74.6 | 56.8 | "-" | " 48.001" | 60.3 | 87.6 | 73.5 | 95.7 | 77.9 | "-"
49403 | 39.3 | 67.7 | 57.7 | 77.4 | 59.6 | "-" | " 49.403" | 64 | 89 | 79.6 | 97.1 | 79.4 | "-"
50845 | 33 | 64.2 | 55.3 | 71 | 53.2 | "-" | " 50.845" | 61.6 | 88.5 | 78.2 | 95 | 77.2 | "-"
52.33 | 32.7 | 61.8 | 55.9 | 69.9 | 52.1 | "-" | " 52.33" | 52.7 | 84.6 | 78.1 | 92.9 | 75.2 | "-"
53858 | 30.9 | 65.6 | 50.5 | 71 | 53.3 | "-" | " 53.858" | 44.2 | 85 | 71.4 | 92 | 74.3 | "-"
55431 | 29.8 | 62.3 | 51.2 | 70.3 | 52.5 | "-" | " 55.431" | 46.7 | 82.9 | 72.5 | 90.6 | 72.9 | "-"
57049 | 27.1 | 64.5 | 57.2 | 71.8 | 54 | "-" | " 57.049" | 50.8 | 79.8 | 71.8 | 88.1 | 70.3 | "-"
58715 | 33.5 | 69.5 | 59 | 76.5 | 58.7 | "-" | " 58.715" | 52 | 81.6 | 71.3 | 89 | 71.2 | "-"
60.43 | 29.2 | 72 | 55.9 | 79 | 61.3 | "-" | " 60.43" | 57.7 | 81.7 | 65.2 | 91.6 | 73.8 | "-"
62194 | 46.7 | 73.9 | 70.4 | 82.9 | 65.1 | "-" | " 62.194" | 61.2 | 85.5 | 80.5 | 94.8 | 77 | "-"
64.01 | 55.2 | 79.8 | 70.6 | 87.8 | 70 | "-" | " 64.01" | 58.6 | 86.9 | 78.6 | 95.9 | 78.1 | "-"
65879 | 51.4 | 77.4 | 74.4 | 87.8 | 70 | "-" | " 65.879" | 56.6 | 84.7 | 77.9 | 93.3 | 75.5 | "-"
67803 | 41.4 | 72.5 | 59.9 | 80.9 | 63.1 | "-" | " 67.803" | 54.6 | 84.7 | 73.8 | 92.5 | 74.7 | "-"
69783 | 38.4 | 67.6 | 55.9 | 75.4 | 57.6 | "-" | " 69.783" | 57.2 | 86.8 | 76.8 | 94 | 76.2 | "-"
71821 | 37.9 | 66.7 | 49.5 | 72.6 | 54.8 | "-" | " 71.821" | 55.7 | 87 | 74.9 | 93.8 | 76 | "-"
73918 | 35.2 | 63.9 | 53.8 | 72.1 | 54.3 | "-" | " 73.918" | 58.2 | 81.8 | 71.5 | 92.1 | 74.3 | "-"
76076 | 32.6 | 65.8 | 53.8 | 73.4 | 55.6 | "-" | " 76.076" | 58.4 | 86.6 | 69.6 | 92.8 | 75.1 | "-"
78298 | 35.6 | 69.8 | 50.4 | 75.4 | 57.7 | "-" | " 78.298" | 66.6 | 86.6 | 73.8 | 95.7 | 77.9 | "-"
80584 | 26.8 | 60.1 | 50.1 | 68.4 | 50.6 | "-" | " 80.584" | 62.9 | 85.8 | 80.7 | 96.1 | 78.3 | "-"
82937 | 23.3 | 63.1 | 55.7 | 69.6 | 51.8 | "-" | " 82.937" | 52.7 | 84.1 | 75 | 94.3 | 76.5 | "-"
85359 | 24.6 | 53 | 42.6 | 61 | 43.2 | "-" | " 85.359" | 53.9 | 83.5 | 71.9 | 92 | 74.2 | "-"
87852 | 27.6 | 56.7 | 42.1 | 65.4 | 47.6 | "-" | " 87.852" | 54.6 | 81.3 | 71.1 | 90.2 | 72.4 | "-"
90417 | 25.1 | 52.8 | 43.2 | 62 | 44.2 | "-" | " 90.417" | 53 | 85 | 78.3 | 92 | 74.2 | "-"
93057 | 31.5 | 58.3 | 53.8 | 65.6 | 47.8 | "-" | " 93.057" | 58.8 | 89.3 | 85.4 | 96.3 | 78.6 | "-"
95775 | 32.1 | 56.3 | 49.7 | 66.1 | 48.3 | "-" | " 95.775" | 60.4 | 86.5 | 79.5 | 96.8 | 79.1 | "-"
98571 | 26.5 | 56.5 | 48.5 | 65.3 | 47.5 | "-" | " 98.571" | 65.5 | 87.8 | 85.5 | 96.3 | 78.6 | "-"
101.45 | 29.5 | 53.8 | 44.8 | 63.7 | 45.9 | "-" | " 101.45" | 63.7 | 87.7 | 85.3 | 97 | 79.2 | "-"
104412 | 27.1 | 54.2 | 45.7 | 63.4 | 45.6 | "-" | " 104.412" | 63.3 | 87 | 86.1 | 96.5 | 78.7 | "-"
107461 | 27.2 | 55 | 40.6 | 63.9 | 46.1 | "-" | " 107.461" | 61.5 | 86.9 | 73.8 | 96.6 | 78.8 | "-"
110599 | 29.8 | 56.5 | 43.6 | 64.5 | 46.7 | "-" | " 110.599" | 60.8 | 87.5 | 75.5 | 96.2 | 78.4 | "-"
113828 | 21.9 | 57.5 | 47.4 | 63.6 | 45.8 | "-" | " 113.828" | 58.8 | 86.4 | 76.5 | 94.7 | 76.9 | "-"
117152 | 26.6 | 56.5 | 43.1 | 63.3 | 45.5 | "-" | " 117.152" | 55.8 | 86.4 | 67.1 | 94.7 | 77 | "-"
120573 | 25.1 | 55.1 | 46.4 | 63.4 | 45.6 | "-" | " 120.573" | 53.1 | 88.8 | 75.1 | 97 | 79.2 | "-"
124094 | 25.5 | 50.8 | 39 | 58.3 | 40.5 | "-" | " 124.094" | 60.9 | 94.6 | 76.1 | 102.1 | 84.3 | "-"
127717 | 21.5 | 48 | 37.1 | 58 | 40.2 | "-" | " 127.717" | 59.1 | 95.9 | 82.9 | 102.2 | 84.4 | "-"
131447 | 29.2 | 59.3 | 40.2 | 66.3 | 48.5 | "-" | " 131.447" | 61.1 | 92 | 82.4 | 99.5 | 81.7 | "-"
135285 | 29.6 | 55.9 | 41 | 64.5 | 46.7 | "-" | " 135.285" | 62.2 | 90.9 | 81.4 | 100 | 82.2 | "-"
139236 | 32.2 | 61.5 | 45.7 | 70.7 | 52.9 | "-" | " 139.236" | 74.8 | 99.6 | 87.5 | 109 | 91.2 | "-"
143301 | 35.4 | 54.3 | 44.9 | 64.8 | 47 | "-" | " 143.301" | 72.3 | 100.8 | 88 | 109.6 | 91.8 | "-"
147486 | 39.7 | 61 | 54.1 | 71.5 | 53.7 | "-" | " 147.486" | 74.5 | 99.8 | 91 | 110 | 92.3 | "-"
151792 | 34.1 | 56 | 49.8 | 65.1 | 47.3 | "-" | " 151.792" | 78 | 101.7 | 86.6 | 110.8 | 93.1 | "-"
156225 | 33.5 | 57 | 53.3 | 65.9 | 48.2 | "-" | " 156.225" | 77.5 | 102.6 | 94.4 | 112.4 | 94.6 | "-"
160787 | 35.2 | 56.9 | 52.9 | 65.7 | 47.9 | "-" | " 160.787" | 75.4 | 102.3 | 86.1 | 109.6 | 91.8 | "-"
165482 | 33.8 | 62.8 | 54.5 | 69.7 | 51.9 | "-" | " 165.482" | 75.2 | 102 | 90.4 | 110.8 | 93.1 | "-"
170314 | 35.4 | 59.3 | 54 | 67 | 49.2 | "-" | " 170.314" | 72.4 | 103.7 | 83.6 | 110.7 | 93 | "-"
175287 | 32.9 | 54.6 | 43.2 | 63.7 | 45.9 | "-" | " 175.287" | 77.7 | 103.1 | 91.2 | 110.2 | 92.4 | "-"
180406 | 33.2 | 67.5 | 48.1 | 73 | 55.2 | "-" | " 180.406" | 75.9 | 108.2 | 91.6 | 115.4 | 97.7 | "-"
185674 | 34.5 | 60 | 51.6 | 68 | 50.3 | "-" | " 185.674" | 78 | 103 | 101.9 | 112.2 | 94.5 | "-"
191095 | 35.8 | 56.3 | 45.9 | 64.5 | 46.7 | "-" | " 191.095" | 81 | 103.5 | 103.4 | 113 | 95.2 | "-"
196675 | 34.5 | 57.9 | 51.5 | 66.7 | 48.9 | "-" | " 196.675" | 84.1 | 108.4 | 106.6 | 117.1 | 99.3 | "-"
202418 | 35.6 | 61.1 | 53 | 69.2 | 51.4 | "-" | " 202.418" | 86.9 | 111.2 | 102.1 | 117.8 | 100 | "-"
208329 | 33.9 | 57.7 | 44.1 | 66.4 | 48.6 | "-" | " 208.329" | 82.4 | 107 | 91.5 | 116.3 | 98.5 | "-"
214412 | 36.3 | 62.5 | 47.5 | 69 | 51.2 | "-" | " 214.412" | 84.2 | 112.7 | 103.1 | 120.4 | 102.6 | "-"
220673 | 34.7 | 60.4 | 50.6 | 68.1 | 50.3 | "-" | " 220.673" | 80.8 | 109.9 | 104.7 | 117.2 | 99.4 | "-"
227117 | 35.7 | 58.9 | 46 | 65.8 | 48 | "-" | " 227.117" | 78.6 | 105.8 | 97.8 | 113.1 | 95.3 | "-"
233749 | 34.9 | 58.3 | 50.6 | 66.7 | 48.9 | "-" | " 233.749" | 82.5 | 101.9 | 100.3 | 112.8 | 95 | "-"
240575 | 37.8 | 60.8 | 41.7 | 69 | 51.2 | "-" | " 240.575" | 85.7 | 111.1 | 99.7 | 118 | 100.2 | "-"
247.6 | 34.8 | 54.6 | 37.6 | 63.1 | 45.3 | "-" | " 247.6" | 84.6 | 107.1 | 91.8 | 116.9 | 99.1 | "-"
254.83 | 36.8 | 58 | 55.7 | 66.7 | 48.9 | "-" | " 254.83" | 83.5 | 108.2 | 97.1 | 116.5 | 98.7 | "-"
262271 | 37.3 | 57.9 | 49.3 | 67 | 49.3 | "-" | " 262.271" | 86.2 | 106.8 | 96 | 115.8 | 98 | "-"
269929 | 35.9 | 58.5 | 47.4 | 67.5 | 49.7 | "-" | " 269.929" | 85 | 105.7 | 94.9 | 114.3 | 96.5 | "-"
277811 | 31.3 | 55.8 | 41.5 | 64.7 | 46.9 | "-" | " 277.811" | 84.6 | 108.5 | 99.3 | 116.5 | 98.7 | "-"
285924 | 35.5 | 52.7 | 43.3 | 63.9 | 46.1 | "-" | " 285.924" | 85.9 | 105.3 | 101.7 | 116.1 | 98.3 | "-"
294273 | 35.4 | 53.3 | 45.3 | 63.3 | 45.5 | "-" | " 294.273" | 85.7 | 108.6 | 99.4 | 116.4 | 98.6 | "-"
302866 | 35.3 | 54.7 | 52.2 | 63.6 | 45.8 | "-" | " 302.866" | 87.6 | 106.3 | 100.9 | 115.6 | 97.9 | "-"
311709 | 32.9 | 53.4 | 45.7 | 63.1 | 45.4 | "-" | " 311.709" | 84.4 | 106.8 | 104.7 | 117.4 | 99.7 | "-"
320812 | 33.8 | 52 | 50.4 | 62.9 | 45.1 | "-" | " 320.812" | 85.5 | 104.1 | 99 | 115 | 97.2 | "-"
330179 | 31.9 | 52.3 | 39.1 | 62.5 | 44.7 | "-" | " 330.179" | 86.1 | 106.9 | 99.8 | 116 | 98.2 | "-"
339821 | 32.2 | 48 | 39.7 | 60.3 | 42.6 | "-" | " 339.821" | 85.7 | 107.6 | 96.6 | 115.7 | 98 | "-"
349744 | 30.5 | 51.4 | 36 | 60.3 | 42.5 | "-" | " 349.744" | 88.7 | 108 | 97.8 | 115.6 | 97.8 | "-"
359956 | 29.4 | 46.5 | 36.2 | 58.2 | 40.5 | "-" | " 359.956" | 86.4 | 103.5 | 98.5 | 114.4 | 96.6 | "-"
370467 | 27.2 | 46.4 | 44.1 | 56.9 | 39.1 | "-" | " 370.467" | 84.6 | 104.3 | 96.5 | 113.5 | 95.7 | "-"
381285 | 27.8 | 43.8 | 39 | 54.3 | 36.5 | "-" | " 381.285" | 84.3 | 104.1 | 96.7 | 114.8 | 97 | "-"
392419 | 27.3 | 48.1 | 29.6 | 56.3 | 38.5 | "-" | " 392.419" | 84.9 | 104 | 92.2 | 114.2 | 96.4 | "-"
403878 | 26.3 | 42.3 | 29.7 | 53.6 | 35.8 | "-" | " 403.878" | 83.1 | 102.3 | 94.5 | 113.5 | 95.7 | "-"
415671 | 27.4 | 45.3 | 38.4 | 54.7 | 36.9 | "-" | " 415.671" | 86.6 | 104.5 | 97.5 | 114.3 | 96.5 | "-"
427809 | 26.4 | 41.5 | 33.4 | 52.7 | 34.9 | "-" | " 427.809" | 87.6 | 103.9 | 96.2 | 114.8 | 97 | "-"
440301 | 26.6 | 41.9 | 35.1 | 52.2 | 34.4 | "-" | " 440.301" | 83 | 104.9 | 97.5 | 113.9 | 96.1 | "-"
453158 | 24.4 | 40.9 | 29 | 51.4 | 33.7 | "-" | " 453.158" | 88.1 | 103.6 | 98.8 | 113.9 | 96.2 | "-"
466391 | 23.1 | 39.8 | 35.4 | 51.3 | 33.5 | "-" | " 466.391" | 87.7 | 103.5 | 100.4 | 114.3 | 96.6 | "-"
480.01 | 23.4 | 40.2 | 31.9 | 50.3 | 32.5 | "-" | " 480.01" | 87.5 | 105.5 | 94.5 | 114.9 | 97.1 | "-"
494026 | 24.3 | 40.5 | 32.5 | 51.8 | 34.1 | "-" | " 494.026" | 87.8 | 104.5 | 93.6 | 114.6 | 96.8 | "-"
508452 | 24.7 | 38.6 | 32.6 | 50.6 | 32.8 | "-" | " 508.452" | 88.1 | 104.6 | 94.4 | 114.1 | 96.3 | "-"
523299 | 24.6 | 40.4 | 33.3 | 50.7 | 32.9 | "-" | " 523.299" | 88.3 | 103.5 | 101.7 | 114.5 | 96.7 | "-"
538.58 | 24.1 | 40.7 | 31.4 | 50.8 | 33.1 | "-" | " 538.58" | 87 | 100.5 | 94.3 | 112.4 | 94.6 | "-"
554307 | 23.6 | 38.5 | 33.6 | 49.3 | 31.6 | "-" | " 554.307" | 87.1 | 102 | 95.3 | 112.7 | 94.9 | "-"
570493 | 23.3 | 41.3 | 33.4 | 49.6 | 31.8 | "-" | " 570.493" | 85.3 | 101.3 | 93.4 | 112.7 | 94.9 | "-"
587151 | 22.2 | 37.3 | 27.4 | 48 | 30.3 | "-" | " 587.151" | 89.1 | 103.7 | 96.2 | 113.3 | 95.5 | "-"
604296 | 20 | 34.4 | 25.4 | 46 | 28.2 | "-" | " 604.296" | 85.4 | 102 | 100.7 | 112.8 | 95.1 | "-"
621942 | 19.9 | 33.5 | 25.8 | 45.2 | 27.4 | "-" | " 621.942" | 86.1 | 100.6 | 93.7 | 112.3 | 94.5 | "-"
640103 | 19.7 | 34.5 | 28.7 | 45.5 | 27.7 | "-" | " 640.103" | 86.6 | 99.5 | 92.1 | 111.3 | 93.5 | "-"
658795 | 17 | 35.2 | 28.5 | 46.6 | 28.8 | "-" | " 658.795" | 81.3 | 100.3 | 95.3 | 112 | 94.2 | "-"
678032 | 21.3 | 33.9 | 29.5 | 46.6 | 28.8 | "-" | " 678.032" | 84.7 | 100 | 93.7 | 111.1 | 93.4 | "-"
697831 | 19.5 | 32.7 | 27.3 | 44.5 | 26.7 | "-" | " 697.831" | 86.1 | 98 | 91.2 | 110.7 | 92.9 | "-"
718208 | 20.9 | 33 | 28.9 | 44.9 | 27.1 | "-" | " 718.208" | 84.1 | 99.2 | 89.5 | 110.9 | 93.1 | "-"
739.18 | 17.7 | 31.9 | 26.1 | 43.2 | 25.4 | "-" | " 739.18" | 87.1 | 99.8 | 92.1 | 111.2 | 93.5 | "-"
760764 | 17.4 | 30.6 | 25.8 | 42.6 | 24.9 | "-" | " 760.764" | 83.6 | 98.6 | 93.5 | 110.3 | 92.5 | "-"
782979 | 18.3 | 32.7 | 24.8 | 43.4 | 25.6 | "-" | " 782.979" | 86.6 | 99.4 | 91.9 | 110.7 | 92.9 | "-"
805842 | 18.2 | 32.3 | 22.1 | 43.4 | 25.6 | "-" | " 805.842" | 83.8 | 98.4 | 91.9 | 110.5 | 92.8 | "-"
829373 | 17.9 | 31.8 | 23.9 | 42.9 | 25.1 | "-" | " 829.373" | 84.5 | 99.6 | 94.5 | 110.5 | 92.7 | "-"
853591 | 17.7 | 30.2 | 26.7 | 42 | 24.2 | "-" | " 853.591" | 85.8 | 99.3 | 93.7 | 110.4 | 92.6 | "-"
878517 | 15.9 | 30.4 | 19.5 | 41.3 | 23.6 | "-" | " 878.517" | 84.6 | 97.7 | 93.1 | 110.2 | 92.4 | "-"
904.17 | 17.2 | 28.4 | 22.6 | 41.5 | 23.7 | "-" | " 904.17" | 85 | 98.8 | 89.3 | 110.5 | 92.7 | "-"
930572 | 18 | 30.5 | 22.6 | 42.4 | 24.6 | "-" | " 930.572" | 85.4 | 98.2 | 94 | 110.5 | 92.7 | "-"
957745 | 11.8 | 29.5 | 22.1 | 41 | 23.2 | "-" | " 957.745" | 84.6 | 98.9 | 90.8 | 110.6 | 92.9 | "-"
985712 | 16.7 | 30 | 25 | 41 | 23.3 | "-" | " 985.712" | 86.6 | 97.8 | 93.4 | 110.3 | 92.5 | "-"
1014495 | 16.3 | 27.3 | 23.3 | 40.1 | 22.3 | "-" | "1014.495" | 82.7 | 98.7 | 91.8 | 110.2 | 92.4 | "-"
1044119 | 15.7 | 29.2 | 22.2 | 40.5 | 22.7 | "-" | "1044.119" | 84.9 | 99.4 | 92.4 | 109.9 | 92.2 | "-"
1074608 | 14.2 | 27.3 | 21.7 | 39.8 | 22 | "-" | "1074.608" | 83.7 | 96.9 | 92.8 | 109.3 | 91.5 | "-"
1105987 | 14.9 | 26.6 | 20.1 | 38.6 | 20.8 | "-" | "1105.987" | 82.9 | 95.7 | 90.9 | 108.4 | 90.6 | "-"
1138282 | 15.4 | 25.8 | 20.4 | 38.6 | 20.8 | "-" | "1138.282" | 86.1 | 98.6 | 97.4 | 109.7 | 91.9 | "-"
1171521 | 17.2 | 28.9 | 20.7 | 41.3 | 23.5 | "-" | "1171.521" | 87.5 | 100 | 95.7 | 112.3 | 94.5 | "-"
1205.73 | 17.1 | 28.1 | 22.1 | 40.4 | 22.6 | "-" | " 1205.73" | 86.8 | 99.5 | 95 | 111.6 | 93.9 | "-"
1240938 | 15.7 | 27.8 | 21.4 | 40.1 | 22.3 | "-" | "1240.938" | 87.4 | 99.6 | 93.1 | 111.2 | 93.4 | "-"
1277174 | 13.6 | 24.8 | 19.8 | 38.6 | 20.9 | "-" | "1277.174" | 87.8 | 98.4 | 94.1 | 110.7 | 92.9 | "-"
1314468 | 14.5 | 25.9 | 20.9 | 38.6 | 20.9 | "-" | "1314.468" | 85.5 | 99.1 | 92.6 | 110.7 | 92.9 | "-"
1352851 | 15.4 | 26.2 | 23.7 | 39 | 21.3 | "-" | "1352.851" | 86.8 | 98.6 | 93.3 | 110.7 | 92.9 | "-"
1392355 | 15.4 | 28.6 | 22.4 | 39.6 | 21.9 | "-" | "1392.355" | 87.5 | 98.5 | 96.9 | 111 | 93.2 | "-"
1433013 | 16.7 | 27.1 | 19 | 39.5 | 21.7 | "-" | "1433.013" | 87.6 | 98.2 | 92.4 | 111 | 93.2 | "-"
1474857 | 15.4 | 26.7 | 17.9 | 38.5 | 20.7 | "-" | "1474.857" | 88 | 98.9 | 90.6 | 111 | 93.2 | "-"
1517924 | 15.5 | 28.2 | 20.8 | 39.7 | 21.9 | "-" | "1517.924" | 87.5 | 98.5 | 92.4 | 110.5 | 92.7 | "-"
1562248 | 13.6 | 27.2 | 24.1 | 39.2 | 21.5 | "-" | "1562.248" | 87.2 | 97.9 | 95.3 | 110.4 | 92.7 | "-"
1607867 | 14.8 | 26.1 | 24.9 | 38.2 | 20.5 | "-" | "1607.867" | 86.5 | 97.9 | 94.6 | 110.2 | 92.4 | "-"
1654817 | 14.4 | 25.4 | 19 | 37.7 | 19.9 | "-" | "1654.817" | 85.4 | 98.3 | 93.1 | 109.8 | 92 | "-"
1703139 | 14.3 | 24.6 | 16.2 | 36.9 | 19.1 | "-" | "1703.139" | 86.1 | 95.7 | 88 | 108.7 | 90.9 | "-"
1752871 | 14.6 | 24.7 | 19.5 | 37.6 | 19.9 | "-" | "1752.871" | 85.5 | 94.4 | 92.3 | 108.1 | 90.3 | "-"
1804056 | 15.2 | 24.4 | 21.4 | 37.9 | 20.1 | "-" | "1804.056" | 84.3 | 94.4 | 92 | 107.5 | 89.7 | "-"
1856735 | 13.2 | 22.4 | 16.6 | 36.1 | 18.3 | "-" | "1856.735" | 82.8 | 93.2 | 90.5 | 106.6 | 88.8 | "-"
1910953 | 14 | 22.9 | 18.1 | 36.5 | 18.7 | "-" | "1910.953" | 84 | 92.9 | 87.9 | 106.2 | 88.4 | "-"
1966754 | 13.7 | 23.4 | 18.8 | 36.8 | 19.1 | "-" | "1966.754" | 83 | 93.6 | 86.5 | 106.2 | 88.4 | "-"
2024184 | 19.7 | 29.7 | 23.9 | 42.3 | 24.5 | "-" | "2024.184" | 86.2 | 99 | 94.9 | 109.5 | 91.7 | "-"
2083291 | 21 | 30.1 | 24.5 | 42.8 | 25 | "-" | "2083.291" | 86.6 | 96 | 93.2 | 108.9 | 91.1 | "-"
2144125 | 21.4 | 31.6 | 25.2 | 43.3 | 25.5 | "-" | "2144.125" | 86 | 95.1 | 91.1 | 108 | 90.2 | "-"
2206734 | 21 | 31.9 | 24.6 | 43 | 25.3 | "-" | "2206.734" | 85.3 | 93.8 | 89.6 | 107.4 | 89.6 | "-"
2271172 | 21.7 | 30.1 | 27.7 | 43.5 | 25.7 | "-" | "2271.172" | 85 | 95.4 | 93.7 | 107.8 | 90 | "-"
2337491 | 23.4 | 32.8 | 26 | 45.5 | 27.7 | "-" | "2337.491" | 83.4 | 94.2 | 90.4 | 107 | 89.3 | "-"
2405747 | 22.8 | 30.3 | 25.8 | 44.2 | 26.4 | "-" | "2405.747" | 84.5 | 94 | 90.6 | 106.9 | 89.1 | "-"
2475996 | 23 | 31.3 | 27.4 | 44.4 | 26.7 | "-" | "2475.996" | 84.8 | 93.1 | 89 | 106.6 | 88.9 | "-"
2548297 | 21.7 | 29.7 | 24.9 | 43.2 | 25.5 | "-" | "2548.297" | 84.4 | 93.4 | 89.3 | 106.4 | 88.6 | "-"
2622708 | 20.6 | 28.9 | 24.2 | 42.6 | 24.8 | "-" | "2622.708" | 83.9 | 93.1 | 90 | 106 | 88.2 | "-"
2699293 | 16.3 | 32 | 32 | 42.7 | 24.9 | "-" | "2699.293" | 78.1 | 96.2 | 94.7 | 107.3 | 89.5 | "-"
2778114 | 14.4 | 30.6 | 19.5 | 42.1 | 24.3 | "-" | "2778.114" | 74.8 | 95.8 | 84.1 | 107.3 | 89.5 | "-"
2859236 | 18 | 31.9 | 19.8 | 42 | 24.2 | "-" | "2859.236" | 78.2 | 94.3 | 93.2 | 106.9 | 89.2 | "-"
2942727 | 13.8 | 29.4 | 21.2 | 40.5 | 22.7 | "-" | "2942.727" | 79 | 94.9 | 90.4 | 106.3 | 88.6 | "-"
3028656 | 12.4 | 29.2 | 20.2 | 38.3 | 20.5 | "-" | "3028.656" | 75.8 | 92.7 | 82.1 | 105.7 | 87.9 | "-"
3117095 | 1.8 | 25.3 | 17.8 | 37.2 | 19.5 | "-" | "3117.095" | 79 | 92.6 | 86.3 | 104.4 | 86.6 | "-"
3208115 | 10.9 | 24 | 19.2 | 36.4 | 18.6 | "-" | "3208.115" | 68.8 | 92.3 | 82.9 | 103.8 | 86 | "-"
3301794 | 7.3 | 22.2 | 13.1 | 34.4 | 16.6 | "-" | "3301.794" | 74.7 | 92.8 | 82.3 | 103.5 | 85.7 | "-"
3398208 | 3.4 | 21.8 | 17.3 | 33.4 | 15.6 | "-" | "3398.208" | 78.1 | 92.6 | 82.7 | 103.8 | 86 | "-"
3497438 | 8.8 | 22.3 | 10.7 | 34 | 16.2 | "-" | "3497.438" | 74.4 | 90.4 | 87.5 | 103 | 85.3 | "-"
3599565 | 6.3 | 18 | 10.3 | 31.4 | 13.6 | "-" | "3599.565" | 74.5 | 89.9 | 82.6 | 102.6 | 84.9 | "-"
3704674 | 6.6 | 18.7 | 15.6 | 31.7 | 13.9 | "-" | "3704.674" | 75.9 | 89.1 | 83.2 | 102.3 | 84.5 | "-"
3812853 | 6.1 | 19.1 | 14 | 30.5 | 12.7 | "-" | "3812.853" | 75.8 | 89.5 | 83.5 | 102 | 84.2 | "-"
3924.19 | 2.2 | 17 | 11.8 | 29.9 | 12.1 | "-" | " 3924.19" | 76.3 | 89 | 81.1 | 101.5 | 83.7 | "-"
4038778 | 3.5 | 15.5 | 10.2 | 29.1 | 11.3 | "-" | "4038.778" | 76 | 87.8 | 83.4 | 101.1 | 83.3 | "-"
4156712 | 5.8 | 16.1 | 10.6 | 29.2 | 11.4 | "-" | "4156.712" | 76.6 | 91.6 | 86.7 | 102.3 | 84.5 | "-"
4278091 | -0.2 | 13.9 | 7.9 | 27.3 | 9.5 | "-" | "4278.091" | 78.3 | 89 | 83.6 | 101.8 | 84 | "-"
4403013 | 1.7 | 14.2 | 9.5 | 26.7 | 8.9 | "-" | "4403.013" | 74.3 | 88.5 | 81.5 | 101.5 | 83.7 | "-"
4531583 | 2.4 | 13.9 | 8.7 | 27.3 | 9.5 | "-" | "4531.583" | 78.8 | 88.8 | 84.2 | 102.3 | 84.6 | "-"
4663908 | -0.4 | 14.6 | 6.8 | 27 | 9.2 | "-" | "4663.908" | 77.4 | 88.8 | 83.6 | 102.9 | 85.2 | "-"
4800097 | -0.6 | 13.2 | 7.6 | 27.2 | 9.4 | "-" | "4800.097" | 79.8 | 91.5 | 81.6 | 104.5 | 86.8 | "-"
4940262 | 2.8 | 13.9 | 9.1 | 27.6 | 9.8 | "-" | "4940.262" | 81.1 | 92.8 | 85 | 104.5 | 86.7 | "-"
5084521 | 4 | 14.9 | 10.5 | 28.2 | 10.5 | "-" | "5084.521" | 79.8 | 93.1 | 90.3 | 105.5 | 87.7 | "-"
L-netw | 69.5 | 83.4 | 79.7 | 93.9 | 76.1 | 90 | " L-netw" | 113.7 | 117.8 | 117 | 133.4 | 115.6 | 130.6
A-netw | 52.3 | 59.5 | 57.8 | 73.8 | 56.1 | 70.1 | " A-netw" | 111.2 | 113.5 | 113.1 | 130 | 112.2 | 126.3
Setup information
Measurement mode: Lvl-Flt-Sgl
Master Instrument Mode: Normal
Filter bandwidth: 1/24-oct
Time constant: 1/8s F
Lower frequency: 48.00Hz
Upper frequency: 5084.52Hz
Measurement start: Thu 09 Nov 2006 10:59:27
Measurement duration: 00:01:00:000
Trigger condition: Manual
Channel 1:
Input: Microphone
Calibration: -26.4
Reference level (0dB): 2.00e-05
Fullscale: 85dB
High pass filter: 20Hz
Channel 2:
Input: Microphone
Calibration: -26.6
Reference level (0dB): 2.00e-05
Fullscale: 125dB
High pass filter: 20Hz